Tetiaroa weather data 1/1/2024-9/18/2025

tetiaroa-gap-filled-wx-hourly-2025-09-18.csv

Mike Burnett (mburnett@ucsb.edu)

This weather dataset comes primarily from the Meteo-France station on Tetiaroa (located on east side of runway, 17°00'51.7"S 149°35'07.9"W). The station has a rain gauge, thermometer, hygrometer, and wind gauge (10 m elevation) and logs every 6 minutes. We downloaded the data as hourly summaries, but I also have lots of the 6 minute data stored.

Next to the station I deployed an ATMOS 41 all-in-one weather station at 1.3 m height and a HOBO MX2202 light intensity pendant at ground level, both logging every 10 minutes. 10-minute data were summarized to hourly data to match the hourly Meteo-France timestamps.

I consider the Meteo-France station to be the gold-standard for Tetiaroa’s weather data and thus tried to make its time series as complete as possible. Periodically the Meteo-France station stopped reporting, so there are some missing data. For missing data, I used statistical relationships to transform the back-up weather data to be comparable to the Meteo-France data. Missing data were first gap-filled using the ATMOS 41. The ATMOS 41 was our only source of solar radiation data, but several months were missing due to sensor failure. These missing data were gap-filled using the MX2202 pendant.

Gap-filling relationships can be seen below: